## Planilha1
Tagname | Status do Alarme
CITY_01_LSL-053A | Normal
CITY_02_LSL-053A | Normal
CITY_03_LSL-053A | Normal
CITY_04_LSL-053A | Normal
CITY_05_LSL-053A | Normal
CITY_06_LSL-053A | Normal
CITY_07_LSL-053A | Normal
CITY_01_LSL-053B | Normal
CITY_02_LSL-053B | Normal
CITY_03_LSL-053B | Normal
CITY_04_LSL-053B | Normal
CITY_05_LSL-053B | Atuado
CITY_06_LSL-053B | Normal
CITY_07_LSL-053B | Normal
CITY_01_PDSH-002A | Normal
CITY_02_PDSH-002A | Normal
CITY_03_PDSH-002A | Normal
CITY_04_PDSH-002A | Normal
CITY_05_PDSH-002A | Normal
CITY_06_PDSH-002A | Normal
CITY_07_PDSH-002A | Normal
CITY_01_PDSH-002B | Normal
CITY_02_PDSH-002B | Normal
CITY_03_PDSH-002B | Normal
CITY_04_PDSH-002B | Normal
CITY_05_PDSH-002B | Normal
CITY_06_PDSH-002B | Normal
CITY_07_PDSH-002B | Normal
CITY_01_PSL-060A | Normal
CITY_04_PSL-060A | Normal
CITY_05_PSL-060A | Normal
CITY_07_PSL-060A | Normal
CITY_01_PSL-060B | Normal
CITY_04_PSL-060B | Normal
CITY_05_PSL-060B | Normal
CITY_07_PSL-060B | Normal
CITY_03_PSL-100A | Normal
CITY_06_PSL-100A | Normal
CITY_03_PSL-100B | Normal
CITY_06_PSL-100B | Normal
CITY_01_DEF-VL | Normal
CITY_02_DEF-VL | Normal
CITY_03_DEF-VL | Normal
CITY_04_DEF-VL | Normal
CITY_05_DEF-VL | Normal
CITY_06_DEF-VL | Normal
CITY_07_DEF-VL | Normal
CITY_01_HRD-CPU | Normal
CITY_02_HRD-CPU | Normal
CITY_03_HRD-CPU | Normal
CITY_04_HRD-CPU | Normal
CITY_05_HRD-CPU | Normal
CITY_06_HRD-CPU | Normal
CITY_07_HRD-CPU | Normal
CITY_01_IO-FLT | Normal
CITY_02_IO-FLT | Normal
CITY_03_IO-FLT | Normal
CITY_04_IO-FLT | Normal
CITY_05_IO-FLT | Normal
CITY_06_IO-FLT | Normal
CITY_07_IO-FLT | Normal
CITY_01_STS-COM-PLC-CV | Normal
CITY_02_STS-COM-PLC-CVA | Normal
CITY_02_STS-COM-PLC-CVB | Normal
CITY_03_STS-COM-PLC-CV | Normal
CITY_04_STS-COM-PLC-CV | Normal
CITY_05_STS-COM-PLC-CV | Normal
CITY_06_STS-COM-PLC-CV | Normal
CITY_07_STS-COM-PLC-CV | Normal
CITY_01_ZSL-014A | Normal
CITY_01_ZSL-014B | Normal
CITY_05_ZSL-014A | Normal
CITY_05_ZSL-014B | Normal
CITY_07_ZSL-014A | Normal
CITY_07_ZSL-014B | Normal
CITY_01_ZSH-056A | Normal
CITY_01_ZSH-056B | Normal
CITY_02_ZSH-056A | Normal
CITY_02_ZSH-056B | Normal
CITY_03_ZSH-056A | Normal
CITY_03_ZSH-056B | Normal
CITY_04_ZSH-056A | Normal
CITY_04_ZSH-056B | Normal
CITY_05_ZSH-056A | Normal
CITY_05_ZSH-056B | Normal
CITY_06_ZSH-056A | Normal
CITY_06_ZSH-056B | Normal
CITY_07_ZSH-056A | Normal
CITY_07_ZSH-056B | Normal
CITY_01_XS-056A-FALHA | Atuado
CITY_01_XS-056B-FALHA | Normal
CITY_02_XS-056A-FALHA | Normal
CITY_02_XS-056B-FALHA | Normal
CITY_03_XS-056A-FALHA | Normal
CITY_03_XS-056B-FALHA | Normal
CITY_04_XS-056A-FALHA | Normal
CITY_04_XS-056B-FALHA | Normal
CITY_05_XS-056A-FALHA | Normal
CITY_05_XS-056B-FALHA | Normal
CITY_06_XS-056A-FALHA | Normal
CITY_06_XS-056B-FALHA | Normal
CITY_07_XS-056A-FALHA | Normal
CITY_07_XS-056B-FALHA | Normal
CITY_01_ZSH-450 | Normal
CITY_01_ZSL-450 | Normal
CITY_02_ZSH-410 | Atuado
CITY_02_ZSL-410 | Normal
CITY_04_ZSL-450 | Normal
CITY_06_ZSH-600 | Normal
CITY_06_ZSL-600 | Normal
CITY_01_ZSL-014A | Normal
CITY_01_ZSL-014B | Normal
CITY_02_ZSL-010A | Normal
CITY_02_ZSL-010B | Normal
CITY_03_ZSL-010A | Normal
CITY_03_ZSL-010B | Normal
CITY_04_ZSL-010A | Normal
CITY_04_ZSL-010B | Normal
CITY_05_ZSL-014A | Normal
CITY_05_ZSL-014B | Normal
CITY_06_ZSL-010A | Normal
CITY_06_ZSL-010B | Normal
CITY_07_ZSL-014A | Normal
CITY_07_ZSL-014B | Atuado